EH&S approved FACS Information for BUA – Edition dated: 9/15/2011

Add to your BUA, Section 4.4 Work Description

Work within the Flow Cytometer Sorter (FACS) facility in 977-106 will be conducted in accordance with the FACS Standard Operating Procedure (SOP) that is available at the FACS as well as on LSD website http://www.lbl.gov/lsd/Research/Resources/FACS.html/.  This SOP covers equipment operation and maintenance procedures along with a description of hazards and required controls.  The FACS facility includes a Becton-Dickinson (BD) FACSVantage-SE cell sorter, a BD FACSCalibur flow cytometer.  These instruments will sort or isolate subpopulations of cells from a variety of sources including cells with specific reporters, stem cells, or primary tissues (blood, human or mouse tissues or tumors).  Examples of safety-related requirements and controls in the SOP are included in Section 5.10.

Add to your BUA, Section 5.10, Biological Risks, Concerns, and Additional Biosafety Controls

Work within the Flow Cytometry Sorter (FACS) facility in 977-106 will be conducted in accordance with the FACS Standard Operating Procedure (SOP) that is available at the FACS as well as on LSD website http://www.lbl.gov/lsd/Research/Resources/FACS.html/.  Examples of safety-related requirements and controls in the SOP include:

- Researchers from the ____________ lab wishing to have samples processed on these instruments will transport their FACS-ready samples to the FACS facility in 977-106 in individually capped tubes which will be carried to the FACS facility in a sealed secondary container that is labeled with a biohazard label for RG2 materials.

- The samples will not be stored or incubated in room 106, but immediately processed on the cytometer/sorter by the FACS facility manager, or certified personnel from the _________lab. The FACS facility manager is a well-trained technician (Michelle Scott, 977-118). LBNL personnel that have gone through extensive FACS training and are certified by a FACS facility manager may be able to process their own samples under the supervision of the technician or independently while following the FACS SOP and facility protocols. Personnel who are certified to operate the FACS equipment are designated by a footnote in Section 2.0 of this BUA.

- Users will wear proper protective clothing and equipment while working with sorters or handling and sorting all biological specimens, including lab coat, gloves, eye protection, pants, and closed toe shoes.

- Surfaces and biological wastes will be decontaminated.  Liquid biological waste will be treated with bleach to achieve a final concentration of 10% household bleach prior to drain disposal, and fresh disinfectants will be used on work surfaces (e.g., 1% household bleach).

- Each facility user will maintain a record by filling out a form that identifies what biological material is being analyzed and discloses any potential biohazards.  This form is a record of material exposure, and will be kept on file by the FACS technician.  Requests that entail unknown biohazards are referred to EH&S for review.  No radioactive material is allowed in the facility.

Add to your BUA, Section 5.1 Bio Safety cabinets:

| 5.1 Biosafety Cabinets | Yes | No |
| --- | --- | --- |
| Are biosafety (biological safety or laminar flow) cabinets used? IF NO, SKIP TO 5.2 | X |  |
| Location (Bldg-Rm) | Cabinet Type (Class) | Manu-facturer | Model | Serial # | Responsible PI (Last Name) | Contact Person (Full Name) |
| 977-106 | FACS Aerosol Mgt. System | BD Bio-Sciences | 349149 | 011540 | Sudar | Damir Sudar |